Zrenner et al., Closed-loop neuroscience and non-invasive brain stimulation: a tale of two loops, Frontiers in Cellular Neuroscience, 2016

<strong>Closed-loop method</strong><br>

<strongi>1. Conceptual considerations</strongi>: combining the two loops<br>

1. Brain-states dynamics loop: couple with and modulate the trajectory of neuronal activity patterns<br>

2. Task dynamics loop: bidirectional motor-sensory interaction between brain and simulated environments

<br></br>

<strongi>2. Closed-loop neuroscience through EEG-triggered TMS</strongi><br>

TMS has a spatial resolution of millimeters and a temporal resolution of microseconds

<br></br>

<strongi>3. Technical challenges</strongi><br>

<br></br>

<strong>Closed-loop neurophysiology</strong>: Two important questions<br>

1. How does the TMS pulse evoke cortico-spinal activity? <br>

2. Which oscillatory brain activity serves which functional role?

<br></br>

<strong>Closed-loop therapy</strong>: can be applied in two ways<br>

1. Control-system theory approach: Using the feedback stimulus as a regulator &rarr; reset the local excitability and activity of a network<br>

2. Neuromodulatory approach: Using a stimulus train to induce specific long-term plastic changes &rarr; rewire the connectivity of the network

<br>